## Components
Name | Eq | System1 | System2 | Fluid1 | Fluid2 | p [bar] | m [kg/h] | V [m3/h] | m [kg/s] | P [kW] | T1 [C°] | T2 [C°] | Note
P_SW_13 | Pump | SW_13 |  | SW |  | 4.2 |  | 725 | 201.3889 |  |  |  | Seawater Pump MEAE 1/3. The data is for the larger pump, there is two!
P_SW_24 | Pump | SW_24 |  | SW |  | 4.2 |  | 725 | 201.3889 |  |  |  | Seawater Pump MEAE 1/3
P_SW_Aux | Pump | SW_Aux |  | SW |  | 1.8 |  | 150 | 41.6667 |  |  |  | Seawater pump for Auxiliary equipment
P1_SW_AC | Pump | SW_AC |  | SW |  | 1.6 |  | 340 | 94.4444 |  |  |  | Seawater pump for AC compressor 1
P2_SW_AC | Pump | SW_AC |  | SW |  | 1.6 |  | 340 | 94.4444 |  |  |  | Seawater pump for AC compressor 2
H_SW_13 | HEX | SW_13 | FW_LT_13 | SW | FW |  |  | 725 | 201.3889 | 5428 |  |  | Central cooler for ME/AE 1 and 3. Note, each 50% power. Design power for one, I think...
H_SW_24 | HEX | SW_24 | FW_LT_24 | SW | FW |  |  | 725 | 201.3889 | 5428 |  |  | Central cooler for ME/AE 2 and 4.
H_SW_Aux | HEX | SW_Aux | FW_Aux | SW | FW |  |  | 0 |  | 430 |  |  | Central cooler for Auxiliary equipment
H_SW_AC | HEX | SW_AC | FW_HR | SW |  |  |  | 680 | 188.8889 | 2000 |  |  | Cooling for AC-compressor
H_SW_AC_Cond | HEX | SW_AC |  | SW | Refr | [7 empty] | Condenser for AC system
P_FW_Aux | Pump | FW_Aux |  | FW |  | 2 |  |  | 36.1111 |  |  |  | Circulation pump for FW Aux cooling system
H_FW_Aux_Prov1 | HEX | FW_Aux |  | FW | Refr |  |  |  |  | 75 |  |  | Heat exchanger for proviant cooling compressors
H_FW_Aux_Prov2 | HEX | FW_Aux |  | FW | Refr |  |  |  |  | 270 |  |  | Heat exchanger for proviant cooling compressors
H_FW_Aux_Prov3 | HEX | FW_Aux |  | FW | Refr |  |  |  |  | 189 |  |  | Heat exchanger for proviant cooling compressors
H_FW_Aux_Air_Start1 | HEX | FW_Aux |  | FW | Air |  |  |  |  | 20 |  |  | Heat exchanger for starting air compressor
H_FW_Aux_Air_Start2 | HEX | FW_Aux |  | FW | Air |  |  |  |  | 20 |  |  | Heat exchanger for starting air compressor
H_FW_Aux_Air_Working1 | HEX | FW_Aux |  | FW | Air |  |  |  |  | 55 |  |  | Heat exchanger for working air compressor
H_FW_Aux_Air_Working2 | HEX | FW_Aux |  | FW | Air |  |  |  |  | 30 |  |  | Heat exchanger for working air compressor
H_FW_Aux_Flash_Steamcondensor | HEX | FW_Aux | Steam | FW | Steam |  |  |  |  | 200 |  |  | Heat exchanger Flash steam condensor
P_FW_LT_13 | Pump | FW_LT_13 |  | FW |  | 2 |  |  | 40.5556 |  | 36 |  | Pump for low temperature Freshwater cooling MEAE 1/3 aux
P_LT_AE1 | Pump | FW_LT_13 |  | FW |  | 2.5 |  |  | 16.6667 |  | 36 |  | Engine driven pump for AE LT
P_LT_AE2 | Pump | FW_LT_24 |  | FW |  | 2.5 |  |  | 16.6667 |  | 36 |  | Engine driven pump for AE LT
P_LT_AE3 | Pump | FW_LT_13 |  | FW |  | 2.5 |  |  | 16.6667 |  | 36 |  | Engine driven pump for AE LT
P_LT_AE4 | Pump | FW_LT_24 |  | FW |  | 2.5 |  |  | 16.6667 |  | 36 |  | Engine driven pump for AE LT
P_LT_ME1 | Pump | FW_LT_13 |  | FW |  | 2.5 |  |  | 33.3333 |  | 36 |  | Engine driven pump for ME LT
P_LT_ME2 | Pump | FW_LT_24 |  | FW |  | 2.5 |  |  | 33.3333 |  | 36 |  | Engine driven pump for ME LT
P_LT_ME3 | Pump | FW_LT_13 |  | FW |  | 2.5 |  |  | 33.3333 |  | 36 |  | Engine driven pump for ME LT
P_LT_ME4 | Pump | FW_LT_24 |  | FW |  | 2.5 |  |  | 33.3333 |  | 36 |  | Engine driven pump for ME LT
P_HT_AE1 | Pump | FW_LT_13 |  | FW |  | 2.5 |  |  | 33.3333 |  | 91 |  | Engine driven pump for AE HT
P_HT_AE2 | Pump | FW_LT_24 |  | FW |  | 2.5 |  |  | 33.3333 |  | 91 |  | Engine driven pump for AE HT
P_HT_AE3 | Pump | FW_LT_13 |  | FW |  | 2.5 |  |  | 33.3333 |  | 91 |  | Engine driven pump for AE HT
P_HT_AE4 | Pump | FW_LT_24 |  | FW |  | 2.5 |  |  | 33.3333 |  | 91 |  | Engine driven pump for AE HT
P_HT_ME1 | Pump | FW_HT_13 |  | FW |  | 2.5 |  |  | 33.3333 |  | 91 |  | Engine driven pump for ME LT
P_HT_ME2 | Pump | FW_HT_24 |  | FW |  | 2.5 |  |  | 33.3333 |  | 91 |  | Engine driven pump for ME LT
P_HT_ME3 | Pump | FW_HT_13 |  | FW |  | 2.5 |  |  | 33.3333 |  | 91 |  | Engine driven pump for ME LT
P_HT_ME4 | Pump | FW_HT_24 |  | FW |  | 2.5 |  |  | 33.3333 |  | 91 |  | Engine driven pump for ME LT
H_FW_LT_Generator1 | HEX | FW_LT_13 |  | FW |  |  |  |  | 5.8333 | 120 | 36 |  | Cooler for generator 1
H_FW_LT_Generator2 | HEX | FW_LT_24 |  | FW |  |  |  |  | 5.8333 | 120 | 36 |  | Cooler for generator 2
H_FW_LT_Generator3 | HEX | FW_LT_13 |  | FW |  |  |  |  | 5.8333 | 120 | 36 |  | Cooler for generator 3
H_FW_LT_Generator4 | HEX | FW_LT_24 |  | FW |  |  |  |  | 5.8333 | 120 | 36 |  | Cooler for generator 4
H_FW_LT13_Bearing1_1 | HEX | FW_LT_13 |  | FW |  |  |  |  | 0.41667 | 1.5 | 36 |  | Cooling for shaft bearing
H_FW_LT13_Bearing1_2 | HEX | FW_LT_13 |  | FW |  |  |  |  | 0.41667 | 1.5 | 36 |  | Cooling for shaft bearing
H_FW_LT24_Bearing1_1 | HEX | FW_LT_24 |  | FW |  |  |  |  | 0.41667 | 1.5 | 36 |  | Cooling for shaft bearing
H_FW_LT24_Bearing1_2 | HEX | FW_LT_24 |  | FW |  |  |  |  | 0.41667 | 1.5 | 36 |  | Cooling for shaft bearing
H_FW_LT13_Bearing2_1 | HEX | FW_LT_13 |  | FW |  |  |  |  | 0.83333 | 3.5 | 36 |  | Cooling for shaft bearing
H_FW_LT13_Bearing2_2 | HEX | FW_LT_13 |  | FW |  |  |  |  | 0.83333 | 3.5 | 36 |  | Cooling for shaft bearing
H_FW_LT24_Bearing2_1 | HEX | FW_LT_24 |  | FW |  |  |  |  | 0.83333 | 3.5 | 36 |  | Cooling for shaft bearing
H_FW_LT24_Bearing2_2 | HEX | FW_LT_24 |  | FW |  |  |  |  | 0.83333 | 3.5 | 36 |  | Cooling for shaft bearing
H_FW_HT13_HeatRecovery | HEX | FW_HT_13 | FW_HR | FW | FW |  |  |  |  | 2400 | 91 |  | Heat recovery for HT system 13
H_FW_HT24_HeatRecovery | HEX | FW_HT_24 | FW_HR | FW | FW |  |  |  |  | 2400 | 91 |  | Heat recovery for HT system 24
H_FW_LT13_FinStabilizer | HEX | FW_LT_13 |  | FW | Oil |  |  |  | 1.6667 | 7 | 36
H_FW_LT24_FinStabilizer | HEX | FW_LT_24 |  | FW | Oil |  |  |  | 1.6667 | 7 | 36
H_FW_LT_LO_ME1 | HEX | FW_LT_13 |  | FW | Oil |  |  |  |  | 770 | x |  | LO Cooler ME, after CAC!
H_FW_LT_LO_ME2 | HEX | FW_LT_24 |  | FW | Oil |  |  |  |  | 770 | x |  | LO Cooler ME, after CAC!
H_FW_LT_LO_ME3 | HEX | FW_LT_13 |  | FW | Oil |  |  |  |  | 770 | x |  | LO Cooler ME, after CAC!
H_FW_LT_LO_ME4 | HEX | FW_LT_24 |  | FW | Oil |  |  |  |  | 770 | x |  | LO Cooler ME, after CAC!
H_FW_LT_CAC_ME1 | HEX | FW_LT_13 |  | FW | Air | [5 empty] | 36 |  | CAC Cooler ME, before LO cooler
H_FW_LT_CAC_ME2 | HEX | FW_LT_24 |  | FW | Air | [5 empty] | 36 |  | CAC Cooler ME, before LO cooler
H_FW_LT_CAC_ME3 | HEX | FW_LT_13 |  | FW | Air | [5 empty] | 36 |  | CAC Cooler ME, before LO cooler
H_FW_LT_CAC_ME4 | HEX | FW_LT_24 |  | FW | Air | [5 empty] | 36 |  | CAC Cooler ME, before LO cooler
H_FW_LT_LO_AE1 | HEX | FW_LT_13 |  | FW | Oil | [7 empty] | LO Cooler AE, after CAC!
H_FW_LT_LO_AE2 | HEX | FW_LT_24 |  | FW | Oil | [7 empty] | LO Cooler AE, after CAC!
H_FW_LT_LO_AE3 | HEX | FW_LT_13 |  | FW | Oil | [7 empty] | LO Cooler AE, after CAC!
H_FW_LT_LO_AE4 | HEX | FW_LT_24 |  | FW | Oil | [7 empty] | LO Cooler AE, after CAC!
H_FW_LT_CAC_AE1 | HEX | FW_LT_13 |  | FW | Air | [5 empty] | 36 |  | CAC Cooler AE, before LO cooler
H_FW_LT_CAC_AE2 | HEX | FW_LT_24 |  | FW | Air | [5 empty] | 36 |  | CAC Cooler AE, before LO cooler
H_FW_LT_CAC_AE3 | HEX | FW_LT_13 |  | FW | Air | [5 empty] | 36 |  | CAC Cooler AE, before LO cooler
H_FW_LT_CAC_AE4 | HEX | FW_LT_24 |  | FW | Air | [5 empty] | 36 |  | CAC Cooler AE, before LO cooler
H_FW_HT_ME1 | HEX | FW_HT_13 |  | FW | Cylinder | [5 empty] | 91 |  | Jacket water cooling ME
H_FW_HT_ME2 | HEX | FW_HT_24 |  | FW | Cylinder | [5 empty] | 91 |  | Jacket water cooling ME
H_FW_HT_ME3 | HEX | FW_HT_13 |  | FW | Cylinder | [5 empty] | 91 |  | Jacket water cooling ME
H_FW_HT_ME4 | HEX | FW_HT_24 |  | FW | Cylinder | [5 empty] | 91 |  | Jacket water cooling ME
H_FW_HT_CAC_ME1 | HEX | FW_HT_13 |  | FW | Air | [5 empty] | ? |  | CAC Cooler HT ME, after cylinder jacket water
H_FW_HT_CAC_ME2 | HEX | FW_HT_24 |  | FW | Air | [5 empty] | ? |  | CAC Cooler HT ME, after cylinder jacket water
H_FW_HT_CAC_ME3 | HEX | FW_HT_13 |  | FW | Air | [5 empty] | ? |  | CAC Cooler HT ME, after cylinder jacket water
H_FW_HT_CAC_ME4 | HEX | FW_HT_24 |  | FW | Air | [5 empty] | ? |  | CAC Cooler HT ME, after cylinder jacket water
H_FW_HT_AE1 | HEX | FW_HT_13 |  | FW | Cylinder | [5 empty] | ? |  | Jacket water cooling AE
H_FW_HT_AE2 | HEX | FW_HT_24 |  | FW | Cylinder | [5 empty] | ? |  | Jacket water cooling AE
H_FW_HT_AE3 | HEX | FW_HT_13 |  | FW | Cylinder | [5 empty] | ? |  | Jacket water cooling AE
H_FW_HT_AE4 | HEX | FW_HT_24 |  | FW | Cylinder | [5 empty] | ? |  | Jacket water cooling AE
H_FW_HT_CAC_AE1 | HEX | FW_HT_13 |  | FW | Air | [5 empty] | ? |  | CAC Cooler HT AE, after cylinder jacket water
H_FW_HT_CAC_AE2 | HEX | FW_HT_24 |  | FW | Air | [5 empty] | ? |  | CAC Cooler HT AE, after cylinder jacket water
H_FW_HT_CAC_AE3 | HEX | FW_HT_13 |  | FW | Air | [5 empty] | ? |  | CAC Cooler HT AE, after cylinder jacket water
H_FW_HT_CAC_AE4 | HEX | FW_HT_24 |  | FW | Air | [5 empty] | ? |  | CAC Cooler HT AE, after cylinder jacket water
H_FW_LT13_SteamCondensor | HEX | FW_LT_13 |  | FW | Steam |  |  |  | 10.8333 | 1450 | 36 |  | Steam condensor cooler
H_FW_LT24_SteamCondensor | HEX | FW_LT_24 |  | FW | Steam |  |  |  | 10.8333 | 1450 | 36 |  | Steam condensor cooler
H_FW_LT_ReductionGear13 | HEX | FW_LT_13 |  | FW | Oil |  |  |  | 13.3333 | 115 | 36 |  | Cooling for reduction gear
H_FW_LT_ReductionGear24 | HEX | FW_LT_24 |  | FW | Oil |  |  |  | 13.3333 | 115 | 36 |  | Cooling for reduction gear
H_FW_LT_CPP13 | HEX | FW_LT_13 |  | FW | Oil |  |  |  | 0.55556 | 17 | 36 |  | Cooling for CP Propeller
H_FW_LT_CPP24 | HEX | FW_LT_24 |  | FW | Oil |  |  |  | 0.55556 | 17 | 36 |  | Cooling for CP Propeller
P_FW_HeatRecovery | Pump | FW_HR |  | FW |  | 3 |  |  | 83.3333 |  |  |  | Circulation pumps for heat recovery
H_FW_HR_SteamHeater | HEX | FW_HR | Steam | FW | Steam |  |  |  |  | 7150 |  |  | Steam heater for heat recovery system
H_FW_HR_HotWater | HEX | FW_HR | PotableWater | FW | FW |  |  |  |  | 1200 | 70 |  | Hot Water Pre heater
H_FW_AC_PreHeat | HEX | FW_HR | Ventilation | FW | FW |  |  |  |  | 3500 |  |  | AC-Reheater
H_FW_AC_ReHeat | HEX | FW_HR | Ventilation | FW | FW |  |  |  |  | 1780 |  |  | AC-Preheater
TANK_HFO_T23S_KeepUp | Coil | Steam |  | Steam | HFO |  | 94 |  | 0.026111 | 55.1206 |  | 40 | HFO Storage tank temp 40C
TANK_HFO_T23S_HeatUp | Coil | Steam |  | Steam | HFO |  | 285 |  | 0.079167 | 167.1208 |  | 40 | HFO storage Tank temp 40C
TANK_HFO_T23P_KeepUp | Coil | Steam |  | Steam | HFO |  | 94 |  | 0.026111 | 55.1206 |  | 40 | HFO Storage tank temp 40C
TANK_HFO_T23P_HeatUp | Coil | Steam |  | Steam | HFO |  | 285 |  | 0.079167 | 167.1208 |  | 40 | HFO storage Tank temp 40C
TANK_HFO_T22S_KeepUp | Coil | Steam |  | Steam | HFO |  | 55 |  | 0.015278 | 32.2514 |  | 40
TANK_HFO_T22S_HeatUp | Coil | Steam |  | Steam | HFO |  | 105 |  | 0.029167 | 61.5708 |  | 40
TANK_MDO_T22P | Coil | Steam |  | Steam | MDO |  | 65 |  | 0.018056 | 38.1153 |  | 20
TANK_HFO_T22CP | Coil | Steam |  | Steam | HFO |  | 47 |  | 0.013056 | 27.5603 |  | 40
TANK_Bilge_T6C | Coil | Steam |  | Steam | Water |  | 15 |  | 0.0041667 | 8.7958 |  | 40
TANK_Sludge_T7C | Coil | Steam |  | Steam | Oil |  | 23 |  | 0.0063889 | 13.4869 |  | 50
TANK_ME_LO_T8P | Coil | Steam |  | Steam | LO |  | 17 |  | 0.0047222 | 9.9686 |  | 50
TANK_ME_LO_T8S | Coil | Steam |  | Steam | LO |  | 17 |  | 0.0047222 | 9.9686 |  | 50
TANK_ME_LO_T6P | Coil | Steam |  | Steam | LO |  | 17 |  | 0.0047222 | 9.9686 |  | 50
TANK_ME_LO_T6S | Coil | Steam |  | Steam | LO |  | 17 |  | 0.0047222 | 9.9686 |  | 50
TANK_FO_CleanDrain_T7CP | Coil | Steam |  | Steam | FO |  | 12 |  | 0.0033333 | 7.0367 |  | 40
TANK_FO_DirtyDrain_T8C | Coil | Steam |  | Steam | FO |  | 21 |  | 0.0058333 | 12.3142 |  | 40
TANK_LO_T7CS | Coil | Steam |  | Steam | LO |  | 12 |  | 0.0033333 | 7.0367 |  | 40
HEATER_VOID_T5039 | Blower | Steam |  | Steam | Air |  | 30 |  | 0.0083333 | 17.5917
HEATER_ACRoom2 | Blower | Steam |  | Steam | Air |  | 30 |  | 0.0083333 | 17.5917
HEATER_SanitaryWaterRoom | Blower | Steam |  | Steam | Air |  | 30 |  | 0.0083333 | 17.5917
HEATER_HeelingPumpRoom | Blower | Steam |  | Steam | Air |  | 23 |  | 0.0063889 | 13.4869
HEATER_EngineRoom_1 | Blower | Steam |  | Steam | Air |  | 30 |  | 0.0083333 | 17.5917
HEATER_EngineRoom_2 | Blower | Steam |  | Steam | Air |  | 30 |  | 0.0083333 | 17.5917
HEATER_PumpRoom | Blower | Steam |  | Steam | Air |  | 20 |  | 0.0055556 | 11.7278
H_Re-Heater_AC | HEX | Steam |  | Steam | FW |  | 2705 |  | 0.75139 | 1586.1819
H_Pre-Heater_AC | HEX | Steam |  | Steam | FW |  | 5240 |  | 1.4556 | 3072.6778
LO_Separator_ME | Separator | Steam |  | Steam | FO |  | 80 |  | 0.022222 | 46.9111
LO_Separator_AE | Separator | Steam |  | Steam | FO |  | 80 |  | 0.022222 | 46.9111
T_SteamHeater_HR |  | Steam | FW_HR | Steam | FW_HR |  | 10788 |  | 2.9967 | 6325.9633
TANK_LO_Storage_T33 | Coil | Steam |  | Steam |  |  | 30 |  | 0.0083333 | 17.5917
TANK_HFO_Settl_T31CS | Coil | Steam |  | Steam |  |  | 160 |  | 0.044444 | 93.8222
TANK_HFO_Settl_T31CP | Coil | Steam |  | Steam |  |  | 150 |  | 0.041667 | 87.9583
TANK_HFO_Day_T32CS | Coil | Steam |  | Steam |  |  | 83 |  | 0.023056 | 48.6703
TANK_HFO_Day_T32CP | Coil | Steam |  | Steam |  |  | 70 |  | 0.019444 | 41.0472
TANK_BilgeWater_T31S | Coil | Steam |  | Steam |  |  | 9 |  | 0.0025 | 5.2775
TANK_Sludge_TXXX | Coil | Steam |  | Steam |  |  | 10 |  | 0.0027778 | 5.8639
HEATER_BowThrusterRoom | Blower | Steam |  | Steam |  |  | 23 |  | 0.0063889 | 13.4869
HEATER_WorkshopBoatswain | Blower | Steam |  | Steam |  |  | 10 |  | 0.0027778 | 5.8639
HEATER_Workshop_El | Blower | Steam |  | Steam |  |  | 10 |  | 0.0027778 | 5.8639
HEATER_Workshop_Repairman | Blower | Steam |  | Steam |  |  | 31 |  | 0.0086111 | 18.1781
HEATER_Workshop_Machinery | Blower | Steam |  | Steam |  |  | 31 |  | 0.0086111 | 18.1781
HEATER_FreshWaterRoom | Blower | Steam |  | Steam |  |  | 31 |  | 0.0086111 | 18.1781
HEATER_SanitaryWaterRoom1 | Blower | Steam |  | Steam |  |  | 31 |  | 0.0086111 | 18.1781
HEATER_MachineryStore | Blower | Steam |  | Steam |  |  | 10 |  | 0.0027778 | 5.8639
HEATER_SteeringGearRoom | Blower | Steam |  | Steam |  |  | 93 |  | 0.025833 | 54.5342
HEATER_SeparatorRoom | Blower | Steam |  | Steam |  |  | 16 |  | 0.0044444 | 9.3822
H_GreaseTrap | HEX | Steam |  | Steam |  |  | 139 |  | 0.038611 | 81.5081
Separator_bilgeWater | Separator | Steam |  | Steam |  |  | 45 |  | 0.0125 | 26.3875
Hot_Water_Calorifier | HEX | Steam |  | Steam |  |  | 625 |  | 0.17361 | 366.4931
Hot_Water_Heater | HEX | Steam |  | Steam |  |  | 16 |  | 0.0044444 | 9.3822
Hot_Water_PreHeater | HEX | Steam |  | Steam |  |  | 1828 |  | 0.50778 | 1071.9189
FO_Feed_Unit_ME | HEX | Steam |  | Steam |  |  | 175 |  | 0.048611 | 102.6181
HFO_Separator | Separator | Steam |  | Steam |  |  | 125 |  | 0.034722 | 73.2986
HFO_MDO_Separator | Separator | Steam |  | Steam |  |  | 125 |  | 0.034722 | 73.2986
Prep_Galley_BoilingPan1 | Boiler | Steam |  | Steam |  |  | 46 |  | 0.012778 | 26.9739
Prep_Galley_BoilingPan2 | Boiler | Steam |  | Steam |  |  | 46 |  | 0.012778 | 26.9739
Prep_Galley_BoilingPan3 | Boiler | Steam |  | Steam |  |  | 78 |  | 0.021667 | 45.7383
Prep_Galley_Dishwasher | Dishwasher | Steam |  | Steam |  |  | 60 |  | 0.016667 | 35.1833
Pub_Dishwasher | Dishwasher | Steam |  | Steam |  |  | 50 |  | 0.013889 | 29.3194
Galley_Dishwasher1 |  | Steam |  | Steam |  |  | 60 |  | 0.016667 | 35.1833
Galley_Dishwasher2 |  | Steam |  | Steam |  |  | 48 |  | 0.013333 | 28.1467
Galley_Dishwasher3 |  | Steam |  | Steam |  |  | 70 |  | 0.019444 | 41.0472
Galley_HotCounter1 |  | Steam |  | Steam |  |  | 15 |  | 0.0041667 | 8.7958
Galley_HotCounter2 |  | Steam |  | Steam |  |  | 20 |  | 0.0055556 | 11.7278
Galley_HotCounter3 |  | Steam |  | Steam |  |  | 30 |  | 0.0083333 | 17.5917
Galley_HotCounter4 |  | Steam |  | Steam |  |  | 30 |  | 0.0083333 | 17.5917
Galley_HotCounter5 |  | Steam |  | Steam |  |  | 30 |  | 0.0083333 | 17.5917
Galley_HotCounter6 |  | Steam |  | Steam |  |  | 20 |  | 0.0055556 | 11.7278
Galley_BoilingPan1 |  | Steam |  | Steam |  |  | 63 |  | 0.0175 | 36.9425
Galley_BoilingPan2 |  | Steam |  | Steam |  |  | 46 |  | 0.012778 | 26.9739
Galley_BoilingPan3 |  | Steam |  | Steam |  |  | 46 |  | 0.012778 | 26.9739
Galley_BainMarie1 |  | Steam |  | Steam |  |  | 15 |  | 0.0041667 | 8.7958
Galley_BainMarie2 |  | Steam |  | Steam |  |  | 25 |  | 0.0069444 | 14.6597
Galley_BainMarie3 |  | Steam |  | Steam |  |  | 25 |  | 0.0069444 | 14.6597
Galley_BainMarie4 |  | Steam |  | Steam |  |  | 32 |  | 0.0088889 | 18.7644
Galley_BainMarie5 |  | Steam |  | Steam |  |  | 32 |  | 0.0088889 | 18.7644
Note on K97: Fredrik Ahlgren: 2700 kJ/kg steam, 7 bar (8 absolute pressure) and 589 kJ/kg condensate water (4 bar absolute pressure 140 C)

## Constants
Steam kJ/kg | 2700
Condensate kJ/kg | 589

## Assumptions for demand FB
Name | Design power [kW] | Lumped |  | Relevant variables | [7 empty] | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
|  |  |  | T_air | T_sw | hour (day) | # pass | tank level | Engines load |  |  | 8 | 7 | 6 | 5 | 5 | 5 | 6 | 6 | 6 | 7 | 7 | 8 | 9 | 10 | 12 | 13 | 13 | 12 | 11 | 11 | 10 | 10 | 9 | 8
H_FW_HR_SteamHeater | 7150
H_FW_HR_HotWater | 1200 |  |  |  |  | x | x |  |  |  |  | 69 | 69 | 69 | 69 | 483 | 690 | 690 | 690 | 345 | 345 | 345 | 345 | 345 | 345 | 345 | 345 | 483 | 483 | 690 | 690 | 690 | 345 | 345 | 207
H_FW_AC_PreHeat | 3500 |  |  | x |  | x | x |  |  |  |  | 1450 | 1590 | 1730 | 1870 | 1870 | 1870 | 1730 | 1730 | 1730 | 1590 | 1590 | 1450 | 1310 | 1170 | 890 | 750 | 750 | 890 | 1030 | 1030 | 1170 | 1170 | 1310 | 1450
H_FW_AC_ReHeat | 1780 |  |  | x |  | x | x |  |  |  |  | 624.4 | 695.6 | 766.8 | 838 | 838 | 838 | 766.8 | 766.8 | 766.8 | 695.6 | 695.6 | 624.4 | 553.2 | 482 | 339.6 | 268.4 | 268.4 | 339.6 | 410.8 | 410.8 | 482 | 482 | 553.2 | 624.4
TANK_HFO_T23S_KeepUp | 55.1206 | HFO LT Tank heating (NOTE: only keep, not heat up) | 208.1681 |  |  |  |  | x |  |  |  | 104.084 | 104.084 | 104.084 | 104.084 | 104.084 | 104.084 | 104.084 | 104.084 | 104.084 | 104.084 | 104.084 | 104.084 | 104.084 | 104.084 | 104.084 | 104.084 | 104.084 | 104.084 | 104.084 | 104.084 | 104.084 | 104.084 | 104.084 | 104.084
TANK_HFO_T23S_HeatUp | 167.1208
TANK_HFO_T23P_KeepUp | 55.1206
TANK_HFO_T23P_HeatUp | 167.1208
TANK_HFO_T22S_KeepUp | 32.2514
TANK_HFO_T22S_HeatUp | 61.5708
TANK_MDO_T22P | 38.1153 | See "other tanks"
TANK_HFO_T22CP | 27.5603 | See (HFO Tank heating)
TANK_Bilge_T6C | 8.7958 | Other tanks | 137.8014 |  |  |  |  | x |  |  |  | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007 | 68.9007
TANK_Sludge_T7C | 13.4869
TANK_ME_LO_T8P | 9.9686
TANK_ME_LO_T8S | 9.9686
TANK_ME_LO_T6P | 9.9686
TANK_ME_LO_T6S | 9.9686
TANK_FO_CleanDrain_T7CP | 7.0367
TANK_FO_DirtyDrain_T8C | 12.3142
TANK_LO_T7CS | 7.0367
HEATER_VOID_T5039 | 17.5917 | see below, "Machinery space heaters"
HEATER_ACRoom2 | 17.5917
HEATER_SanitaryWaterRoom | 17.5917
HEATER_HeelingPumpRoom | 13.4869
HEATER_EngineRoom_1 | 17.5917
HEATER_EngineRoom_2 | 17.5917
HEATER_PumpRoom | 11.7278
H_Re-Heater_AC | 1586.1819 |  |  | Never used (…)
H_Pre-Heater_AC | 3072.6778
LO_Separator_ME | 46.9111 | LO_Separator_ME | 46.9111 | [8 empty] | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111
LO_Separator_AE | 46.9111 | LO_Separator_AE | 46.9111 | [8 empty] | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111 | 46.9111
T_SteamHeater_HR | 6325.9633
TANK_LO_Storage_T33 | 17.5917 | See "other tanks"
TANK_HFO_Settl_T31CS | 93.8222 | HFO HT Tank heating | 271.4981 |  |  |  |  | x |  |  |  | 135.749 | 135.749 | 135.749 | 135.749 | 135.749 | 135.749 | 135.749 | 135.749 | 135.749 | 135.749 | 135.749 | 135.749 | 135.749 | 135.749 | 135.749 | 135.749 | 135.749 | 135.749 | 135.749 | 135.749 | 135.749 | 135.749 | 135.749 | 135.749
TANK_HFO_Settl_T31CP | 87.9583
TANK_HFO_Day_T32CS | 48.6703
TANK_HFO_Day_T32CP | 41.0472
TANK_BilgeWater_T31S | 5.2775 | See "other tanks"
TANK_Sludge_TXXX | 5.8639 | See "other tanks"
HEATER_BowThrusterRoom | 13.4869 | Machinery space heaters | 280.8803 | x | [7 empty] | 146.0577 | 134.8225 | 123.5873 | 112.3521 | 112.3521 | 112.3521 | 123.5873 | 123.5873 | 123.5873 | 134.8225 | 134.8225 | 146.0577 | 157.293 | 168.5282 | 190.9986 | 202.2338 | 202.2338 | 190.9986 | 179.7634 | 179.7634 | 168.5282 | 168.5282 | 157.293 | 146.0577
HEATER_WorkshopBoatswain | 5.8639
HEATER_Workshop_El | 5.8639
HEATER_Workshop_Repairman | 18.1781
HEATER_Workshop_Machinery | 18.1781
HEATER_FreshWaterRoom | 18.1781
HEATER_SanitaryWaterRoom1 | 18.1781
HEATER_MachineryStore | 5.8639
HEATER_SteeringGearRoom | 54.5342
HEATER_SeparatorRoom | 9.3822
H_GreaseTrap | 81.5081 | see "galley"
Separator_bilgeWater | 26.3875 | Separator_bilgeWater | 26.3875 | [8 empty] | 0: 26.3875
Hot_Water_Calorifier | 366.4931 | Hot_Water_Calorifier | 366.4931 |  |  | x
Hot_Water_Heater | 9.3822 | Hot_Water_Heater | 9.3822 | Never used (…)
Hot_Water_PreHeater | 1071.9189 | Hot_Water_PreHeater | 1071.9189
FO_Feed_Unit_ME | 102.6181 | FO_Feed_Unit_ME | 102.6181 | [5 empty] | x
HFO_Separator | 73.2986 | HFO_Separator | 73.2986 | (Half) | [7 empty] | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493
HFO_MDO_Separator | 73.2986 | HFO_MDO_Separator | 73.2986 | (Half) | [7 empty] | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493 | 36.6493
Prep_Galley_BoilingPan1 | 26.9739 | Galley | 601.635 |  |  | x | x |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 345.9401 | 345.9401 | 345.9401 | 60.1635 | 345.9401 | 345.9401 | 345.9401 | 60.1635 | 60.1635 | 60.1635 | 60.1635 | 345.9401 | 345.9401 | 345.9401 | 60.1635 | 60.1635 | 60.1635 | 60.1635
Prep_Galley_BoilingPan2 | 26.9739
Prep_Galley_BoilingPan3 | 45.7383
Prep_Galley_Dishwasher | 35.1833
Pub_Dishwasher | 29.3194
Galley_Dishwasher1 | 35.1833
Galley_Dishwasher2 | 28.1467
Galley_Dishwasher3 | 41.0472
Galley_HotCounter1 | 8.7958
Galley_HotCounter2 | 11.7278
Galley_HotCounter3 | 17.5917
Galley_HotCounter4 | 17.5917
Galley_HotCounter5 | 17.5917
Galley_HotCounter6 | 11.7278
Galley_BoilingPan1 | 36.9425
Galley_BoilingPan2 | 26.9739
Galley_BoilingPan3 | 26.9739
Galley_BainMarie1 | 8.7958
Galley_BainMarie2 | 14.6597
Galley_BainMarie3 | 14.6597
Galley_BainMarie4 | 18.7644
Galley_BainMarie5 | 18.7644
|  |  | 3317.2019 | [8 empty] | 2791.6998 | 2965.2771 | 3165.2419 | 3365.2067 | 3779.2067 | 3986.2067 | 4132.182 | 4132.182 | 3787.182 | 3301.4406 | 3587.2172 | 3387.2525 | 3187.2877 | 2701.5463 | 2301.6167 | 2101.6519 | 2239.6519 | 2725.3933 | 3132.3581 | 3132.3581 | 3046.5463 | 2701.5463 | 2901.511 | 2963.4758
NOTES:
T_air and T_sw should be between -5 and 20 (i.e. for T>20 there is no more need for heating) | [8 empty] | TEST conditions |  | HOT WATER DEMAND | 0.1 | 0.1 | 0.1 | 0.1 | 0.7 | 1 | 1 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.7 | 0.7 | 1 | 1 | 1 | 0.5 | 0.5 | 0.3
Preheat is only used during winter, re-heat during summer | [8 empty] | 0.5 | Tank level | GALLEY DEMAND | 0 | 0 | 0 | 0 | 0 | 0 | 0.575 | 0.575 | 0.575 | 0.1 | 0.575 | 0.575 | 0.575 | 0.1 | 0.1 | 0.1 | 0.1 | 0.575 | 0.575 | 0.575 | 0.1 | 0.1 | 0.1 | 0.1
Heating demand is linear with outer air temperature (0 for T>=20, max for T<=-5) | [6 empty] | MAX | 1800 | 1000 | Passengers
Every passenger contributes with 60+60 W of heat | [8 empty] | 8.5 | Sea water temperature
At night demand is lowered (HOW MUCH?) | [8 empty] | 230 | W per person of "free heat"
Heat for tank heating is assumed to be calculated for outer temperature 0. Then linear interpolation | [8 empty] | -5 | Mininum air temperature
As for the level, we can assume it linear also in this case? | [8 empty] | 20 | Maximum air temperature
[7 empty] | MAX | 200 | 150 | Crew
[9 empty] | FOR THE LINEAR APPROXIMATION |  |  |  |  | -5 | 0 | 5 | 10 | 15 | 20
Galley equipment: | [8 empty] | -5 | 20 |  | -0.04 | bar: -5
min 10%, max 90%. | [8 empty] | 1 | 0 |  | 0.8
Min when no passengers, max when 1800 passengers on board.
Calculated From 7 to 10, from 11 to 14 and from 18 to 21
Equal to min during other times of the day (10-11 and 14-18)
Zero at night
[12 empty] | 8 | 7 | 6 | 5 | 5 | 5 | 6 | 6 | 6 | 7 | 7 | 8 | 9 | 10 | 12 | 13 | 13 | 12 | 11 | 11 | 10 | 10 | 9 | 8
Hot water heaters according to the numbers provided by Bologna people for hot water demand in a hotel
Scaled to the maximum of the chart
Min (10%) when no passengers on board. Max (100%) when 1800 passengers