## Slide 1: Index
Index
Overview
Full system
Full system (case 1,3)
Full system (case 2,4)
Heat exchanger names-codes, LT cooling systems
Heat exchanger names-codes, HT cooling systems
Heat exchanger names-codes, HR systems
Heat exchanger names-codes, Boilers
Heat exchanger names-codes, Steam users
And following: Details of different parts of the system

## Slide 2
Boilers/HRSGs
Steam users
HR users
Steam heater
HT cooling (1/3)
HT cooling (2/4)
LT cooling (2/4)
LT cooling (1/3)
HT heat recovery (1/3)
HT heat recovery (2/4)
SW cooler (1/3)
SW cooler (2/4)

## Slide 3
Water (LT)
Water (HT)
Sea water
Steam
HR water
Refers to ME 1/3 and AE 1/3
Condensate
To condensers
HEXLT5
HEXLT6
HEXLT7
HEXLT8
HEXLT9
HEXLT10
HEXLT1.2
HEXLT2.2
HEXLT3.2
HEXLT4.2
HEXLT1.1
HEXLT2.1
HEXLT4.1
HEXLT3.1
HEXHT2.1
HEXHT2.2
HEXHT1.1
HEXHT1.2
HEXHT3.1
HEXHT4.1
HEXHT3.2
HEXHT4.2
HEXHT-HR1
HEXHT-HR2
HEXSt-HR
HEXHR2
HEXHR3
HEXHR4
HEXHRSG1
HEXHR1
HEXHRSG3
HEXHRSG2
HEXHRSG5
HEXHRSG6
HEXHRSG4
HEXAB1
HEXAB2
HEXU3
HEXU4
HEXU1
HEXU2
HEXU5

## Slide 4
Water (LT)
Water (HT)
Sea water
Steam
HR water
Refers to ME 1/3 and AE 1/3
Condensate
To condensers
HEXLT5
HEXLT6
HEXLT7
HEXLT8
HEXLT9
HEXLT10
HEXLT1.2
HEXLT2.2
HEXLT3.2
HEXLT4.2
HEXLT1.1
HEXLT2.1
HEXLT4.1
HEXLT3.1
HEXHT2.1
HEXHT2.2
HEXHT1.1
HEXHT1.2
HEXHT3.1
HEXHT4.1
HEXHT3.2
HEXHT4.2
HEXHT-HR1
HEXHT-HR2
HEXSt-HR
HEXHR2
HEXHR3
HEXHR4
HEXHRSG1
HEXHR1
HEXHRSG3
HEXHRSG2
HEXHRSG5
HEXHRSG6
HEXHRSG4
HEXAB1
HEXAB2
HEXU3
HEXU4
HEXU1
HEXU2
HEXU5

## Slide 5
Water (LT)
Water (HT)
Sea water
Steam
HR water
Refers to ME 1/3 and AE 1/3
Condensate
To condensers
HEXLT5
HEXLT6
HEXLT7
HEXLT8
HEXLT9
HEXLT10
HEXLT1.2
HEXLT2.2
HEXLT3.2
HEXLT4.2
HEXLT1.1
HEXLT2.1
HEXLT4.1
HEXLT3.1
HEXHT2.1
HEXHT2.2
HEXHT1.1
HEXHT1.2
HEXHT3.1
HEXHT4.1
HEXHT3.2
HEXHT4.2
HEXHT-HR1
HEXHT-HR2
HEXSt-HR
HEXHR2
HEXHR3
HEXHR4
HEXHRSG1
HEXHR1
HEXHRSG3
HEXHRSG2
HEXHRSG5
HEXHRSG6
HEXHRSG4
HEXAB1
HEXAB2
HEXU3
HEXU4
HEXU1
HEXU2
HEXU5

## Slide 6
Name | Symbol | Notes
Charge air cooler, LT stage (ME1) | HEX_LT1.1 | 
Lubricating oil cooler (ME1) | HEX_LT1.2 | 
Charge air cooler, LT stage (ME3) | HEX_LT2.1 | 
Lubricating oil cooler (ME3) | HEX_LT2.2 | 
Charge air cooler, LT stage (AE1) | HEX_LT3.1 | 
Lubricating oil cooler (AE1) | HEX_LT3.2 | 
Charge air cooler, LT stage (AE3) | HEX_LT4.1 | 
Lubricating oil cooler (AE3) | HEX_LT4.2 | 
Generator cooler (AE) | HEX_LT5 | 2x
Propeller oil cooler | HEX_LT6 | 2x
Shaft bearing cooler (ME) | HEX_LT7 | 4x
Steam condenser | HEX_LT8 | 
Fin stabiliser cooler | HEX_LT9 | 2x
Gearbox cooler | HEX_LT10 | 
Heat exchanger names – codes
Low Temperature (LT) cooling systems

## Slide 7
Name | Symbol | Notes
Jacket water cooler (ME1) | HEX_HT1.1 | 
Charge air cooler, HT stage (ME1) | HEX_HT1.2 | 
Jacket water cooler (ME3) | HEX_HT2.1 | 
Charge air cooler, HT stage (ME3) | HEX_HT2.2 | 
Jacket water cooler (AE1) | HEX_HT3.1 | 
Charge air cooler, HT stage (AE1) | HEX_HT3.2 | 
Jacket water cooler (AE3) | HEX_HT4.1 | 
Charge air cooler, HT stage (AE3) | HEX_HT4.2 | 
Heat recovery from high temperature cooling (eng.room1/3) | HEX_HT-HR1 | 
Heat exchanger names – codes
High Temperature (HT) cooling systems

## Slide 8
Name | Symbol | Notes
Heat recovery from high temperature cooling (eng.room1/3) | HEX_HT-HR1 | 
Heat recovery from high temperature cooling (eng.room 2/4) | HEX_HT-HR2 | 
Steam heater | HEX_St-HR | 
AC-Reating | HEX_HR1 | 
AC-Preheating | HEX_HR2 | 
Hot water heater | HEX_HR3 | 
Technical water generator | HEX_HR4 | For the moment, this is not in the calculations
Heat exchanger names – codes
Heat Recovery (HR) systems

## Slide 9
Name | Symbol | Notes
Heat recovery steam generator (AE1) | HEX_HRSG1 | 
Heat recovery steam generator (AE3) | HEX_HRSG2 | 
Heat recovery steam generator (ME3) | HEX_HRSG3 | 
Heat recovery steam generator (AE2) | HEX_HRSG4 | 
Heat recovery steam generator (AE4) | HEX_HRSG5 | 
Heat recovery steam generator (ME2) | HEX_HRSG6 | 
Auxiliary boiler 1 | HEX_AB1 | 
Auxiliary boiler 2 | HEX_AB2 | 
Heat exchanger names – codes
Boilers

## Slide 10
Name | Symbol | Notes
Galley | HEX_U1 | 
Tank heating (LT) | HEX_U2 | 
Tank heating (HT) | HEX_U3 | 
Hot water steam heater (AKA Calorifier) | HEX_U4 | 
Others | HEX_U5 | 
Heat exchanger names – codes
Steam users

## Slide 11
HEXLT1.2
HEXLT2.2
HEXLT3.2
HEXLT4.2
HEXHT2.1
HEXHT2.2
HEXHT1.1
HEXHT1.2
HEXHT3.1
HEXHT4.1
HEXHT3.2
HEXHT4.2
HEXHT-HR1
To Low temperature
Cooling systems
To heat recovery
systems
High Temperature (HT) cooling systems

## Slide 12
HEXHT-HR1
HEXHT-HR2
HEXSt-HR
HEXHR2
HEXHR3
HEXHR4
HEXHR1
To HT cooling systems (1/3)
To HT cooling systems (2/4)
To steam distribution network
Heat Recovery (HR) systems

## Slide 13
HEXHRSG3
HEXHRSG2
HEXHRSG5
HEXHRSG6
HEXHRSG4
HEXAB1
HEXAB2
To steam users
To heat recovery
Systems
To Low temperature
Cooling systems
Boilers

## Slide 14
Boilers/HRSGs
Steam users
HVAC steam preheater
HTCS
LTCS
HVAC HTCS Preheater
SW cooler
To HVAC
HEN, retrofit

## Slide 15
CAC
LOC
JWC
Aux engine (1)
Aux engine (2)
From/to preheater
From/to reheater
CAC
LOC
JWC
CAC
JWC
Main engine (1)
CAC
JWC
Main engine (2)